## Slide 1: In-Situ Light Scattering for Characterization of Suspended Environmental Nanomaterials: Morphology, Structure and Dynamics
786

## Slide 2: Structure of the Course
Overview of Suspended Nanomaterials
Dynamic Light Scattering Basics
  Instrument Overview & Operation
Self Assembly & Colloidal Stability
Aggregate Structures & Internal Dynamics

## Slide 3: Overview of Suspended Nanomaterials
A Little History…
What are suspended nanomaterials
  Length scales
Complex fluids and soft materials
  Emulsions, foams, gels, dispersions
How do we investigate these samples
  Other techniques: TEM, microscopy

## Slide 4: Dynamic Light Scattering Basics
How does light interact with matter?
Dynamic Light Scattering
  Correlation function
  Time-scale  Diffusion constant  size
Understanding intensity & angle
Data Analysis Options and Size Distribution
Instrument Overview & Operation
Practical Matters in Experimental Design

## Slide 5: Self Assembly & Stability
Interparticle Interactions
  Dispersion forces, electrostatics
  Zeta potential measurement
  Point of Zero Charge
Stable systems
  Surfactant self assembly
  Microemulsions
Instability
  Fractal growth
  Sedimentation

## Slide 6: Aggregate Structures & Internal Dynamics
Static Light Scattering
  Measurements of large molecules
  Form and structure factor for aggregates
  Polarized DLS measurements
Gel & protein dynamics
  Purely diffusive vs. sub- and super-diffusive behaviors
  Reptation