## Slide 1: DLS Basics
786

## Slide 2: Dynamic Light Scattering: Setup
Diffusing colloids
Transmitted light
Detector
Incident light
Fluctuating scattered light intensity
Scattering angle
Fluctuations in scattered light arise from diffusion
Light scatters in all directions
Notes: http://www.people.vcu.edu/~ecarpenter2/DigitalCorrelator.htm

## Slide 3: Scattered Light Intensity: t = 0
Incident light
Particles in fixed positions
I = I0
Unperturbed light
If particles remain fixed, so does intensity at detector
Static scattering reveals micro-structure; e.g. x-ray crystallography
Detector

## Slide 4: Scattered Light Intensity: t = Δt
Incident light
Particles have diffused
I = I(Δt) = I0
Dynamic light scattering reveals ensemble average motion
Duration of Δt before intensity changes gives time scale of motion
If particles move, intensity at detector changes
Detector
Unperturbed light
Notes: Particle motion causes intensity change at detector

## Slide 5: Signal fluctuates in time
How fast? Over what time scale?
Instrument calculates correlation function:

## Slide 6: Compare the signal I to itself:
If: , then is large
As: , then diminishes
Lag time:
.…

## Slide 7: What does the correlation G look like?
Siegert approximation
Where
Raw data:
exponential decay
Thought experiment: if this is an example correlation function for a randomly fluctuating signal I, what would the correlation function look like if the signal I was sinusoidal? Otherwise periodic?

## Slide 8: Meaning of decay time-scale
Fluctuations in scattered light arise from diffusive motion
Correlation function of scattered light intensity: exponential decay
Real-time hardware correlators measure
Detector
lag time Δt at which
I(Δt) = I0
Notes: http://www.people.vcu.edu/~ecarpenter2/DigitalCorrelator.htm

## Slide 9: From time-scale to size scale
Units of Diffusion = [length2/time]
Length scale given by scattering vector q
Diffusion through area 1/q2 occurs at time scale τ
q has units 1/length; can be controlled by adjusting θ

## Slide 10: Measured Diffusion Constant
Diffusion D has units length2/time
Time is τ, as obtained through exponential fit
Length scale is 1/q.
Area particle diffuses through in length scale τ is 1/q2
Hence measurement of D is:

## Slide 11: Particle size from D
Use Stokes Einstein relation, assuming spherical particles:
Combine measured D with Stokes Einstein:
…and solve for radius a