## Slide 1: Assembly & In/stability
786

## Slide 2: Overview
Thermodynamic Assembly
  Micellization
  BCPs and lipids
Thermodynamic Instability
  Creaming
  Sedimentation
  Aggregation

## Slide 3: Overview
Unless thermodynamics dictate assembly, all roads lead to separation!
Complex fluids are metastable
LS is a great tool to assess stability

## Slide 4: Micellization

## Slide 5
The Ebers papyrus (Egypt, 1550 BC) indicates the ancient Egyptians bathed regularly and combined animal and vegetable oils with alkaline salts to create a soap-like substance.
2 main ingredients!
Notes: https://en.wikipedia.org/wiki/Soap
https://encrypted-tbn2.gstatic.com/images?q=tbn:ANd9GcR3zMql6EU-kk57thy7DYsUjX-cekAJDRNKNA2WPk-wh26BoM04QA
Bubbles: http://www.soaphistory.net/

## Slide 6: How does soap work?
Rinse away…
econutssoap.com
Notes: http://econutssoap.com/wp-content/uploads/2011/12/roll-up-mechanism-credit-scienceinthebox.gif
http://27.109.7.67:1111/econtent/lipids-I/soap-detergent_clip_image003.jpg
https://encrypted-tbn0.gstatic.com/images?q=tbn:ANd9GcQMEB-tJOXABb-mVJ_QRMPjZJIXDsGiP47PgAlsH4Kz8i0M17psYg
So although strictly speaking just about any surfactant will do an adequate job at roll-up when studied as a nice scientific problem, most surfactants will be (a) poor stabilisers of the drops, (b) poor emulsifiers of the drops, (c) too attracted to the surface or all of the above. In other words, relying on roll-up is a recipe for disaster. Hence a focus on emulsification via HLD=0 or, for real sophisticates, finding "slow" polymeric surfactants that wrap around the rolled-up drop is going to be vital for effective cleaning.
FROM http://www.stevenabbott.co.uk/practical-surfactants/roll-up.php
See also https://www.surfactantassociates.com/

## Slide 7
Representative triglyceride found in a linseed oil, a triester (triglyceride) derived of linoleic acid, alpha-linolenic acid, and oleic acid.
Ester Group
+ NaOH (lye)
Saponifcation reaction = ester hydrolysis of salts
Notes: https://en.wikipedia.org/wiki/Ester
Fat + strong base = soap -- Fats are esters -- Base breaks the OR’ bond to form salts

## Slide 8
Representative triglyceride found in a linseed oil, a triester (triglyceride) derived of linoleic acid, alpha-linolenic acid, and oleic acid.
Ester Group
Na+
Na+
Na+
Glycerin
Notes: https://en.wikipedia.org/wiki/Ester

## Slide 9: Result: Soap
Start with liquid oils/fats like glyceryl tristearatte
React with lye or sodium hydroxide strong base  Sodium stearate + glycerine (softener)
Sodium stearate = soap = surfactant sodium
Notes: http://econutssoap.com/wp-content/uploads/2011/12/roll-up-mechanism-credit-scienceinthebox.gif
http://27.109.7.67:1111/econtent/lipids-I/soap-detergent_clip_image003.jpg
https://encrypted-tbn0.gstatic.com/images?q=tbn:ANd9GcQMEB-tJOXABb-mVJ_QRMPjZJIXDsGiP47PgAlsH4Kz8i0M17psYg

## Slide 10: What differentiates surfactants?
Self-association leads to
reverse micelle formation
at critical micelle concentration
Increasing concentration
Measurable via:
conductivity, light scattering, surface tension, viscosity…

## Slide 11: Dispersant critical micelle concentration
by conductivity measurements
BA ~ 10 ppm 4F ~ 100 ppm
Notes: Fix the y axis negative exponents

## Slide 12: Dispersant micellization
by conductivity measurements
BA ~ 10 ppm 4F ~ 100 ppm
Notes: Fix the y axis negative exponents

## Slide 13: Surfactants below/above the cmc
Low c
  Nothing to scatter from
  No size to measure
High c
  Number of scatterers grows
  Measureable size
CMC can determine how surfactants interact in suspension: self-assembly may reduce or facilitate interaction with other components.

## Slide 14: Stabilization by adsorption
Adsorption isotherms corroborate LS particle characterization
2 dispersants: cmc ~ 10 and ~ 100 ppm in heptane
Each stabilizes asphaltene colloids below respective cmc
Hashmi, Firoozabadi. Soft Matter 7, 8384 (2011).

## Slide 15: Interparticle Interactions

## Slide 16: In/Stability & interparticle interactions
physics.nyu.edu/~pc86
Universal
Repulsion Required
Brushes: short-ranged
Electrostatics: good candidate to explain stability

## Slide 17: Van der Waals & Dispersion
Dipole-dipole and induced-dipole interactions
All material has some degree of polarizability
  Universal
  Attractive
Hamaker constant A
F ~ - A / r 6
NOTE: short range:
F ~ 1 / r 6
Notes: https://saylordotorg.github.io/text_general-chemistry-principles-patterns-and-applications-v1.0/s15-02-intermolecular-forces.html
Chloroform has a fixed dipole moment
Acetonitrile also has a fixed dipole moment CH3CtriplebondN

## Slide 18: Inter-particle Potentials
Malescio Nature Materials 2, 501 (2003).
Umax
if repulsion is electrostatic, DLVO theory describes U(r)
 Induced dipole-dipole van der Waals
U
r
Irreversible aggregation 
Notes: http://www.malvern.com/LabEng/industry/colloids/dlvo_theory.htm
http://www.ncl.ac.uk/dental/oralbiol/oralenv/tutorials/electrostatic.htm

## Slide 19: Electrostatics
Coulomb’s law
F = kq1q2 / r2
Thin double layers in aqueous systems
Double layer indicates range of electrostatic interactions
-
electrostatic interactions (1/r2) are longer-ranged than van der Waals (1/r6).

## Slide 20: Size of the screening length
Electrostatic attraction is longer range in oil than in water
Double layer indicates range of electrostatic interactions
Aqueous suspensions
Thin double layers
Non-polar suspensions
Thick double layers
-
Notes: https://www.researchgate.net/publication/236186356_Iron_Oxide_Nanoadsorbents_for_Removal_of_Various_Pollutants_from_Wastewater_An_Overview

## Slide 21: Measurement Concept: Zeta Potential
Balance electrostatic force:
+
-
Electric field : diffusion with drift
Electrophoretic mobility:
Drift velocity:
Initial position
Diffusive trajectory
Final position
Against hydrodynamic force:
Related to surface charge:
Surface charge
“Phase Analysis Light Scattering”
Analogous to Doppler shift, but with oscillating electric field
Notes: Force balance is f=qE=QeE = f=6 pi*eta*a*v  QeE=6pi*eta*a*v  v/E = Qe/6pi*eta*a
Mobility in the transport sense is always velocity dividing by the applied field

## Slide 22: Electrophoretic mobility & Zeta Potential
Hückel Theory:
Balance electrostatic and hydrodynamic forces:
+
+
+
+
+
+
+
+
+
+
+
-
For low ionic strengths (apolar)
Smoluchowski:
For high ionic strength (aqueous)
Notes: Force balance is f=qE=QeE = f=6 pi*eta*a*v  QeE=6pi*eta*a*v  v/E = Qe/6pi*eta*a

## Slide 23: Effect of Ionic strength
Ions “screen away” electrostatic repulsion, thus reducing zeta potential magnitude
Rajapaksa TE, et. al. J. Biol. Chem. (2010)
Notes: https://openi.nlm.nih.gov/detailedresult.php?img=PMC2911333_zbc0331026020003&req=4

## Slide 24: Point of Zero Charge
Adjusting pH by adding acid/base can induce protonation/deprotonation of the particle surface, thus changing the surface charge

## Slide 25: Sedimentation

## Slide 26: Hard sphere systems: linear front
t = 0 min t = 60 min t = 95 min t = 150 min t = 210 min
1.57 µm radius silica spheres in water at Φ=0.05
Notes: Align pictures – P10805… 37, 52, 59, 641, 572

## Slide 27: Hard sphere systems: linear front
Measured v ~ 2 to 3x slower than expected
Φ
a = 1.57 µm; silica particles in water
Sedimentation Velocity:
µm/s
Silica zeta potential:
ζ = -18.25 +/- 0.31 mV
Density difference
Gravity

## Slide 28: Gelling systems: sudden collapse
Lietor-Santos et. al. Langmuir. 26(5), 3174 (2010).
Poon et. al. Faraday Discuss. 112, 143 (1999).

## Slide 29: Unstable particles aggregate & settle
NP formation
Aggregation
FAST Sedimentation
FAST
Separation
Sedimentation speed ~ (aggregate size)2

## Slide 30: Stable particles; no aggregation
NP formation
Aggregation
SLOW Sedimentation
SLOW Separation
Sedimentation speed ~ (aggregate size)2

## Slide 31: Growth & settling often simultaneous
Separation of time scales
Growth
Sedimentation
Time (hours)
Intensity (kcps)

## Slide 32: Lab Tasks Day 2
3 surfactants
  Prepare dilutions on log scale from stock
  Run initial measurements
  Prepare additional samples to ‘zoom in’ on cmc
CNTs in suspension
  Assess growth and settling over time
  Depending on sonication/sample preparation
SLS on CNTs and PS spheres